
**[AZ04-13-079] DRINKING WATER HEALTH ADVISORY**

**Chino Meadows II Water Company** is publishing this notice to inform its customers about the presence of Per- and Polyfluoroalkyl Substances PFAS is above the U.S. Environmental Protection Agency (EPA) proposed Maximum Concentration Level (MCL) and/or Hazard Index (HI) for PFAS in drinking water. EPA's proposed Maximum Concentration Level (MCL) and/or Hazard Index (HI) for PFAS are non-enforceable and non-regulatory.

EPA’s proposed Maximum Concentration Level (MCL) and/or Hazard Index (HI) for PFAS offer information that indicates the safe levels of exposure to these individual PFAS. If you are concerned about potential health effects from exposure to these PFAS above the MCL and/or Hazard Index (HI), contact your doctor or health care professional.

ADEQ sampled **Chino Meadows II Water Company** 928-717-2616 at **1800 Donna Dr. on 8/3/2023** and found:

|  |  |  |  |
| --- | --- | --- | --- |
| Compounds | PFAS Results EPDS 001 (PPT) or HI Value  EPA Method 533 | PFAS Results EPDS 001 (PPT) or HI Value  EPA Method 537.1 | Proposed MCL (PPT) or HI Value |
| PFOA | 7.49 | 7.21 | 4 |
| PFOS | 0.00 | 0.00 | 4 |
| PFNA | 0.618 | 0.623 | 1 |
| PFHxS |
| GenX Chemicals |
| PFBS |



For more detailed information and EPA’s answers to questions about its PFAS proposed Maximum Concentration Level (MCL) and/or Hazard Index (HI), visit:

* [EPA’s Proposal to Limit PFAS in Drinking Water March 2023](https://www.epa.gov/system/files/documents/2023-04/Fact%20Sheet_PFAS_NPWDR_Final_4.4.23.pdf)
* <https://www.azdhs.gov/documents/preparedness/epidemiology-disease-control/environmental-health/environmental-public-health-tracking/PFAS_Infographic.pdf>
* <https://www.epa.gov/pfas>
* <https://azdeq.gov/map>

For more information about what ADEQ is doing about PFAS in Arizona, visit: <https://azdeq.gov/pfas-resources>.